## DATASET
Month | Utility System | Total Energy Consumption (kWh) | Energy Consumption per Unit of Production (kWh) | Utility Downtime (Hours) | Energy Cost per Unit Produced | Peak Energy Demand (kW) | Utility Equipment Availability (%) | Energy Efficiency Ratio | Water Consumption per Unit Produced (Liters) | Energy Loss / Waste (%) | Maintenance Cost of Utility Systems
January | Boiler Plant | 520000 | 4.8 | 18 | 3.2 | 920 | 95% | 0.88 | 42 | 6% | 240000
February | Air Compressor System | 540000 | 5 | 22 | 3.35 | 960 | 94% | 0.86 | 45 | 7% | 255000
March | Cooling Tower | 505000 | 4.6 | 15 | 3.1 | 890 | 96% | 0.9 | 40 | 5% | 220000
April | Water Treatment Plant | 575000 | 5.3 | 26 | 3.5 | 1020 | 92% | 0.84 | 48 | 8% | 270000
May | Boiler Plant | 530000 | 4.9 | 19 | 3.25 | 940 | 95% | 0.88 | 43 | 6% | 245000
June | Air Compressor System | 610000 | 5.7 | 30 | 3.7 | 1100 | 91% | 0.82 | 50 | 9% | 295000
July | Cooling Tower | 495000 | 4.5 | 14 | 3.05 | 870 | 97% | 0.91 | 39 | 5% | 215000
August | Water Treatment Plant | 590000 | 5.5 | 27 | 3.55 | 1050 | 92% | 0.83 | 49 | 8% | 280000
September | Boiler Plant | 535000 | 5 | 20 | 3.3 | 950 | 94% | 0.87 | 44 | 6% | 250000
October | Air Compressor System | 625000 | 5.8 | 32 | 3.75 | 1120 | 90% | 0.8 | 52 | 10% | 310000
November | Cooling Tower | 500000 | 4.6 | 16 | 3.1 | 880 | 96% | 0.9 | 41 | 5% | 220000
December | Water Treatment Plant | 640000 | 6 | 35 | 3.9 | 1150 | 89% | 0.78 | 55 | 11% | 330000

## Pivot Table
Sum of Total Energy Consumption (kWh) | [7 empty] | Utility | Sum of Maintenance Cost of Utility Systems | Sum of Utility Downtime (Hours) | Sum of Total Energy Consumption (kWh)
6665000 | Row Labels | Average of Maintenance Cost of Utility Systems | Months | Sum of Energy Cost per Unit Produced | Average of Total Energy Consumption (kWh) | Utility | Sum of Utility Downtime (Hours) | Air Compressor System | 860000 | 84 | 1775000
| Cooling Tower | 218333.3333 | January | 3.2 | 520000 | Air Compressor System | 84 | Boiler Plant | 735000 | 57 | 1585000
Average of Energy Cost per Unit Produced | Boiler Plant | 245000 | February | 3.35 | 540000 | Boiler Plant | 57 | Cooling Tower | 655000 | 45 | 1500000
3.3958 | Air Compressor System | 286666.6667 | March | 3.1 | 505000 | Cooling Tower | 45 | Water Treatment Plant | 880000 | 88 | 1805000
| Water Treatment Plant | 293333.3333 | April | 3.5 | 575000 | Water Treatment Plant | 88 | Grand Total | 3130000 | 274 | 6665000
Average of Utility Downtime (Hours) | Grand Total | 260833.3333 | May | 3.25 | 530000 | Grand Total | 274
22.8333 |  |  | June | 3.7 | 610000
|  |  | July | 3.05 | 495000
Average of Peak Energy Demand (kW) |  |  | August | 3.55 | 590000
987.5 |  |  | September | 3.3 | 535000 |  |  | Air Compressor System | 860000 | 84 | 1775000
|  |  | October | 3.75 | 625000 |  |  | Boiler Plant | 735000 | 57 | 1585000
Average of Energy Efficiency Ratio |  |  | November | 3.1 | 500000 |  |  | Cooling Tower | 655000 | 45 | 1500000
85.58% |  |  | December | 3.9 | 640000 |  |  | Water Treatment Plant | 880000 | 88 | 1805000
|  |  | Grand Total | 40.75 | 555416.6667
[8 empty] | Months | Sum of Maintenance Cost of Utility Systems
|  |  | utility | Sum of Total Energy Consumption (kWh) | Average of Energy Efficiency Ratio |  |  | January | 240000
|  |  | Air Compressor System | 1775000 | 82.67% |  |  | February | 255000
|  |  | Boiler Plant | 1585000 | 87.67% |  |  | March | 220000
|  |  | Cooling Tower | 1500000 | 90.33% |  |  | April | 270000
|  |  | Water Treatment Plant | 1805000 | 81.67% |  |  | May | 245000
|  |  | Grand Total | 6665000 | 85.58% |  |  | June | 295000
[8 empty] | July | 215000
|  |  | UTILITY | ENERGY CONSUPTION | ENERGY EFFICIENCY RATIO |  |  | August | 280000
|  |  | Air Compressor System | 1775000 | 82.67% |  |  | September | 250000
|  |  | Boiler Plant | 1585000 | 87.67% |  |  | October | 310000
|  |  | Cooling Tower | 1500000 | 90.33% |  |  | November | 220000
|  |  | Water Treatment Plant | 1805000 | 81.67% |  |  | December | 330000
[8 empty] | Grand Total | 3130000

## Dashboard
Energy & Utility Maintenance Dashboard
23
Average Downtime Hours
988
Peak energy demand(kw)
₹ 3
Energy Cost Per
Unit Produced
86%
Energy Efficiency Ratio
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.
6.65Gwh
Total Energy Consuption
hrs